## Channel Table
| Test Article Definition |  |  | Instrument Definition | [6 empty] | Channel Definition | [7 empty] | Output Feedback |  | Limits |  | Environments
Channel Index | Node Number | Node Direction | Comment | Serial Number | Triax DoF | Sensitivity (mV/EU) | Engineering Unit | Make | Model | Calibration Exp Date | Physical Device | Physical Channel | Type | Minimum Value (V) | Maximum Value (V) | Coupling | Current Excitation Source | Current Excitation Value | Physical Device | Physical Channel | Warning Level (EU) | Abort Level (EU) | Modal
1 | 221 | Y+ |  | 19644 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
2 | 221 | X- |  | 19644 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
3 | 221 | Z+ |  | 19644 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
4 | 213 | Y+ |  | 11879 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
5 | 213 | X- |  | 11879 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
6 | 213 | Z+ |  | 11879 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
7 | 214 | Y+ |  | 13164 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
8 | 214 | X- |  | 13164 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
9 | 214 | Z+ |  | 13164 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
10 | 215 | Y+ |  | 14561 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
11 | 215 | X- |  | 14561 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
12 | 215 | Z+ |  | 14561 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
13 | 218 | Y+ |  | 18749 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
14 | 218 | X- |  | 18749 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
15 | 218 | Z+ |  | 18749 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
16 | 219 | Y+ |  | 19018 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
17 | 219 | X- |  | 19018 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
18 | 219 | Z+ |  | 19018 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
19 | 216 | Y+ |  | 16947 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
20 | 216 | X- |  | 16947 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
21 | 216 | Z+ |  | 16947 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
22 | 212 | Y+ |  | 12653 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
23 | 212 | X- |  | 12653 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
24 | 212 | Z+ |  | 12653 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
25 | 220 | Y+ |  | 14821 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
26 | 220 | X- |  | 14821 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
27 | 220 | Z+ |  | 14821 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
28 | 204 | Y+ |  | 17128 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
29 | 204 | X- |  | 17128 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
30 | 204 | Z+ |  | 17128 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
31 | 203 | Y+ |  | 12160 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
32 | 203 | X- |  | 12160 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
33 | 203 | Z+ |  | 12160 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
34 | 202 | Y+ |  | 17227 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
35 | 202 | X- |  | 17227 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
36 | 202 | Z+ |  | 17227 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
37 | 201 | Y- |  | 15193 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
38 | 201 | X+ |  | 15193 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
39 | 201 | Z+ |  | 15193 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
40 | 206 | Y- |  | 14098 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
41 | 206 | X+ |  | 14098 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
42 | 206 | Z+ |  | 14098 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
43 | 205 | Y- |  | 13517 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
44 | 205 | X+ |  | 13517 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
45 | 205 | Z+ |  | 13517 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
46 | 210 | Y+ |  | 13944 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
47 | 210 | X- |  | 13944 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
48 | 210 | Z+ |  | 13944 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
49 | 209 | Y+ |  | 10807 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
50 | 209 | X- |  | 10807 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
51 | 209 | Z+ |  | 10807 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
52 | 208 | Y+ |  | 14957 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
53 | 208 | X- |  | 14957 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
54 | 208 | Z+ |  | 14957 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
55 | 207 | Y- |  | 18198 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
56 | 207 | X+ |  | 18198 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
57 | 207 | Z+ |  | 18198 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
58 | 211 | Y- |  | 10844 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
59 | 211 | X+ |  | 10844 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
60 | 211 | Z+ |  | 10844 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
61 | 101 | Y+ |  | 10106 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
62 | 101 | X- |  | 10106 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
63 | 101 | Z+ |  | 10106 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
64 | 103 | Y+ |  | 10887 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
65 | 103 | X- |  | 10887 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
66 | 103 | Z+ |  | 10887 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
67 | 102 | Y+ |  | 18237 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
68 | 102 | X- |  | 18237 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
69 | 102 | Z+ |  | 18237 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
70 | 305 | X+ |  | 17844 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
71 | 305 | Y+ |  | 17844 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
72 | 305 | Z+ |  | 17844 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
73 | 306 | X+ |  | 18396 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
74 | 306 | Y+ |  | 18396 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
75 | 306 | Z+ |  | 18396 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
76 | 304 | X+ |  | 10171 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
77 | 304 | Y+ |  | 10171 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
78 | 304 | Z+ |  | 10171 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
79 | 302 | X+ |  | 14092 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
80 | 302 | Y+ |  | 14092 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
81 | 302 | Z+ |  | 14092 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
82 | 303 | X+ |  | 17317 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
83 | 303 | Y+ |  | 17317 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
84 | 303 | Z+ |  | 17317 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
85 | 301 | X+ |  | 19499 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
86 | 301 | Y+ |  | 19499 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
87 | 301 | Z+ |  | 19499 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
88 | 217 | Y+ |  | 11117 | X+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
89 | 217 | X- |  | 11117 | Y+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
90 | 217 | Z+ |  | 11117 | Z+ | [5 empty] | Virtual |  | Accel | [9 empty] | X
91 | 215 | Z- | [8 empty] | Virtual |  | Force | [5 empty] | Shaker |  |  |  | X
92 | 211 | Z+ | [8 empty] | Virtual |  | Force | [5 empty] | Shaker |  |  |  | X
93 | 206 | Z+ | [8 empty] | Virtual |  | Force | [5 empty] | Shaker |  |  |  | X

## Hardware
Hardware Type | 6 | Hardware Indices: 0 - NI DAQmx; 1 - LAN XI; 2 - Data Physics Quattro; 3 - Data Physics 900 Series; 4 - Exodus Modal Solution; 5 - State Space Integration; 6 - SDynPy System Integration
Hardware File | \\snl\collaborative\ETEST\FY25\Seminars\Seminar 8 - Introduction to Python on SNL\Sem008_Files\modal_system.npz
Sample Rate | 4000
Time Per Read | 0.25
Time Per Write | 0.25
Acquisition Processes | 1
Integration Oversampling | 10

## Modal
Control Type | Modal
Samples Per Frame: | # Number of Samples per Measurement Frame
Averaging Type: | # Averaging Type
Number of Averages: | # Number of Averages used when computing the FRF
Averaging Coefficient: | # Averaging Coefficient for Exponential Averaging
FRF Technique: | # FRF Technique
FRF Window: | # Window used to compute FRF
Exponential Window End Value: | # Exponential Window Value at the end of the measurement frame (0.5 or 50%, not 50)
FRF Overlap: | # Overlap for FRF calculations (0.5 or 50%, not 50)
Triggering Type: | # One of "Free Run", "First Frame", or "Every Frame"
Average Acceptance: | # One of "Accept All", "Manual", or "Autoreject"
Trigger Channel | # Channel number (1-based) to use for triggering
Pretrigger | # Amount of frame to use as pretrigger (0.5 or 50%, not 50)
Trigger Slope | # One of "Positive" or "Negative"
Trigger Level | # Level to use to trigger the test as a fraction of the total range of the channel (0.5 or 50%, not 50)
Hysteresis Level | # Level that a channel must fall below before another trigger can be considered (0.5 or 50%, not 50)
Hysteresis Frame Fraction | # Fraction of the frame that a channel maintain hysteresis condition before another trigger can be considered (0.5 or 50%, not 50)
Signal Generator Type | # One of "None", "Random", "Burst Random", "Pseudorandom", "Chirp", "Square", or "Sine"
Signal Generator Level | # RMS voltage level for random signals, Peak voltage level for chirp, sine, and square pulse
Signal Generator Frequency 1 | # Minimum frequency for broadband signals or frequency for sine and square pulse
Signal Generator Frequency 2 | # Maximum frequency for broadband signals. Ignored for sine and square pulse
Signal Generator On Fraction | # Fraction of time that the burst or square wave is on (0.5 or 50%, not 50)
Wait Time for Steady State | # Time to wait after output starts to allow the system to reach steady state
Autoaccept Script | # File in which an autoacceptance function is defined
Autoaccept Function | # Function name in which the autoacceptance function is defined
Reference Channels | # List of channels, one per cell on this row
Disabled Channels | # List of channels, one per cell on this row

## Test Profile
Time (s) | Environment | Operation | Data